Sep.2015

SURVEY CDS

User Guide

Calibration

Tel/Fax: +86-28021919

Tel/Fax: +86-28021920

Email: sales@hplc.com.cn

www.surwit.com/en

SURVEY

User Guide

ENG

© 2015 Surwit Technology Inc.

# Calibration curve preparation

Calibration curve which is made under the calibration window, include external standard method or internal standard method. Concentration, system suitability can be calculated by the calibration file.

# 1. File

You can adjust the horizontal axis of the unit.

adjust spectrum level

That is a total of 20 correction system 20 calibration points, namely the components can have up to 20 calibration points, that a component can have up to 20 calibration points.

# 2.  components table

Right click the mouse at the table,

Click the column set,

# 3. Calibration Curve Made Procession

Calibration is done by analyzing good standard sample preparation specified calculate absolute component concentrations to determine response factors of the process.

Records: standard samples of the same concentration of parallel injections

Calibration point: from a different sample concentration calibration dots

Standard sample: also called standard sample or standard mixture, containing a known quantity of the sample amount of the compound

Standards can also be purchased from the national standard reagent suppliers

Calibration curve: a compound is a graphical representation of the amount and response data generated by one or more standard sample obtained.

## 3.1 ESTD

Open the first spectra, click add all the peaks , input the compound name,

change the Resp. Style to be Area or Height, and input the Amount correspondently.

Open another standard spectra, given the Cali. Dot. To 2. The first spectra can be closed or reserved. Click  , input the Amount correspondently.

Note: if the Resp. Style is 0, please check if the reserve time of spectra 2 is within the spectra 1.

Then open spectra 3, given the Cali Dot To 3. , click , input the Amount correpondently.

Then open spectra 4, given the Cali Dot To 4. , click , input the Amount correpondently

Click  in the left botton to see the calibration curve.

Menu above:

Response: Displayed the response value

Amount: Amount of compounds, which can be input in the table, the unit can be changed by click

Calcu Value: The amount value in the calculation mode

Depart: (calculation value-amount)/amount*100%

Recs: Number of Value which added in the same calibration point.

Use:  means use this point,  will be displayed in the curve, if no choice,  will be displayed.

Resp. Style: Style can be choosed in this menu

Curve Style: Style can be choosed in this menu

Origin Style: Include three mode:

Ignore: ignore the point (0,0)

Join: join the point (0,0) as a point, which will be used when only one data point

Pass: pass the original point (0,0)

Remnant.: Resp.

## 3.2 ISTD

The basic step of ISTD is same with ESTD.

Notice: ISTD without equation.

Press to save the calibration file (*.cal).