Sep.2015

SURVEY CDS

User Guide

Chrom

Tel/Fax: +86-28021919

Tel/Fax: +86-28021920

Email: sales@hplc.com.cn

www.surwit.com/en

SURVEY

User Guide

ENG

© 2015 Surwit Technology Inc.

# Spectra Processing

After complte the acquirsation o data, open the spectra at the below icron.

## Introduction of Menu Bar

## 1. File

### 1.1 Files menu

File Browser   Click File , file name will appears at the left side of window; double click can open the spectrogram.

### 1.2

### Three mode of spectrum can be opend, including * .cdf, Spectrum * .cdf , * .dat  and  * .ws .

- .cdf - CDS itself or in the same format spectrum

- .dat-N2000 format spectra

- .ws-spectrum file)

then select local maps saved, "local "means stored on a computer disk in this" project "is stored in the built project.

### 1.3 Export

You can export signal text (* .TXT), Fingerprinting (* .TXT), image (* .wmf). Exported files are in the export folder,

- Signal Text (* .TXT): data export to TXT text, including time and signal values

- Fingerprinting (* .TXT): this * .TXT file exported for the purpose of introducing traditional Chinese medicine chromatographic fingerprint evaluation system. Export by Fingerprinting (* .TXT) in TXT files can be opened directly in the chromatographic fingerprint similarity evaluation system in A.

If you want to open in the chromatographic fingerprint similarity evaluation system B, firstly exported to the control file (* .SCP) in the A spectrum, then you can open up the system B.

- Image (* .wmf): while export the spectrum, the spectrum can be exported to Word and Excel, open Word and paste. Each exported image file will be overwritten next time when you export the image file, so please save after exporting files at other files.

## 2. View

Top most: will always at the top page if click.

Version: can select the general and the TVOC version.

Option:

## 3. Method

Including Global Parameters, Manual Integral and Result sets.

## 4. Options

## 5. peak

Add positive peak

Add positive peak within the selected scope

Added Result

Add negative peak

Add negative peak within the selected scope

Delete Result

Delete peak

Detector delay

Manually select or input lag time value, spectra will be left or right offset by the input value time range, positive to left, negative to the right.

Global minimum peak width

Set the minimum peak width, smaller one will not be identified.

Global minimum peak height

Set the minimum peak width, smaller one will not be identified.

Negative peak detection

Shoulder cut area ratio

The default value of CDS is 3, two incompletely separate peak, if their area ratio

is more than 3, it was identified as shoulder peak, if less than 3 will be identified as overlapping peak.

Shoulder cut slope ratio

The default value is 2.5, two incompletely separate peak, if their slope is bigger than 2.5, it was identified as overlapping peak, if less than 3 will be identified as shoulder peak.

Seperation

According to the requirements two kindes can be choosed, automatic adjustment and unchanged baseline.

Baseline will be adjusted automatically after delete one peak.

Baseline will not be changed

Set smallest peak width

Set smallest peak height

Set smallest half peak width

Set smallest peak area

Valley point   Add or change the original valley position within a certain range

Make baseline across the valley point, adjust peak (group) to be single peak

Integration baseline, adjust the peak (group) as the overlapping peak

Adjust peak (group) the baseline level to be forward

Adjust peak (group) the baseline level to be backward

Before cut sets

Tail cut

Solvent peak

Group peak

Result

Noise evaluation, selection section in the spectrum of noise, the noise level will be displayed below.

- Drift assessment, selection drift period in the spectrum, drift values displayed below.

## 6. Effectiveness

Contains some form peak performance parameters, which are calculated here (EP) 50% peak width in accordance with the European Pharmacopoeia. Non-peak retention time and column length can be adjusted according to the actual situation, the value will change in response, such as column efficiency / L items, and the separation degree.

## 7. summary

When you open two or more than two spectra, input the same component name for the same component, or load the calculation file in the result set, it will automatically calculate the average of the same components, include the standard deviation and% RSD and so on.

## 8. SST

SST: To verify the chromatography system based on the chromatographic evaluation. Load the files at the opend spectra, components will be refreshed in the calibration file.

|  | Component selection did not enter any value, to be edited. |
| --- | --- |
|  | All parameters are in line, they were within range. |
|  | Parameter exceeds a given limit, do not match. |

## 9. Spectrum

Sensitivity values can changed by .